## Sheet1
IWEA SAFETY COMMITTEE PLANT SAFETY INSPECTION (Revised 2023)
| #DIV/0! | Name and Address of contact persons for IWEA:
Inspector: Date:
Name of Facility for Plaque:
Place a "1" in the Column That Applies
| OFFICE, PROGRAMS, TRAINING, DOCUMENTATION | YES | Partial | NO | N/A
1 | New Employee Training Written Program in place & used
2 | Emergency Action Plan written (ie: tornado, chem leak, fires, etc)
3 | Emergency Action Plan annual training completed in last 12 months, including annual evacuation drill
4 | Fire Protection- Annual training completed in last 12 months. Should be part of Emergency Action Plan. Evacuation or train on use of fire extinguishers.
5 | Fire Protection - Written procedure in place, should be part of Emergency Action Plan.
6 | Industrial Hygiene/Blood Borne Pathogen - Annual training done
7 | Industrial Hygiene/Blood Borne Pathogen written program available
8 | First Aid / CPR classes-Training completed in last 24 mo.(if required)
9 | Lock out/Tag out - Machine Guarding written program in place
10 | Lock out/Tag out - Machine Guarding training completed (12 mo.)
11 | Lock out/Tag out equipment specific procedures written/reviewed
12 | Confined Space written program in place
13 | Confined Space annual training completed (last 12 mo.)
14 | Confined Space documentation permits available for review
15 | Air monitors are maintained and serviced as required by manufacturer, read manuals
16 | Personal Protective Equipment (PPE)- Evaluations preformed and annual training completed
17 | Hearing Conservation Written program- Evaluations and annual training completed
18 | Basic Electrical Safety (includes arc flash) Annual training completed
19 | Fall ProtectionWritten Program- Evaluations and annual training completed
20 | Hazard Communication written program-Annually reviewed, including SDS availability
21 | Hazard Communication annual training completed (last 12 months)
22 | OSHA Poster and other Required Postings are visible to employees and available
23 | OSHA 300 log is posted at correct dates (February 1st to April 30th) and is kept on file
| LAB | YES | Partial | NO | N/A
24 | Container available and marked for broken glass (Lab)
25 | Chemical Hygiene Plan Written- available and employees trained annually
26 | Employee safety showers, eye wash stations are operational (monthly checks)
27 | Lab. hood certification - every 12 months
28 | PPE Signage for Lab
29 | No Food/Drink signage posted. No Smoking signs posted.
30 | Is PPE available to Lab. Techs, other employees & visitors.
31 | Biohazard signs on refrigerators - No food allowed
32 | Are acids, caustics and flammables separated and identified
| GENERAL PLANT SAFETY | YES | Partial | NO | N/A
33 | Stair-rails/hand-rails present on all staircases with 4 or more risers
34 | Steps are slip resistant / anti-slip surface and free of debris
35 | Proper area lighting over walkways, equipment and steps/stairs
36 | Explosion proof light fixtures are installed where needed.
37 | GFCI outlets near water sources and areas with wet conditions.
38 | Electrical switches or cover plates are inplace and properly secured
39 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
40 | Employee safety showers, eye wash stations are operational and checked monthly
41 | Security for facility – fences / lighting/ gates / no trespassing signs in place
42 | First Aid cabinets and kits available and stocked (BBP available)
43 | "No Smoking" signs posted near flammables and 8 ft from doorway
44 | Man lift and elevators tested monthly (state certificate posted or available)
| SHOP/MAINTENANCE | YES | Partial | NO | N/A
45 | Ladders are being inspected and in good condition?
46 | Ladders are stored on racks or chained to wall so not to fall over.
47 | Electrical panels have min. of 30” of clearance around panel (front and sides)
48 | Electrical panels circuits are clearly marked with ID
49 | All High Voltage (>440 volts) panels have arc flash warnings posted
50 | Panels are in good condition – clean, dry, no exposed conductors
51 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
52 | Extension cords are inspected and in good condition
53 | Tools/attachments are in good working condition & stored properly
54 | All gas cylinders are stored properly - chained down with caps inplace if not being used
55 | Portable cylinder carts must have a fire wall between cylinders
56 | All Cylinders are marked properly with contents
57 | Proper labeled containers for rags, sharps, oils and gasoline etc
58 | Waste oil labeled and stored with containment device/diking
59 | Bulk oil is stored with containment device/diking in place (contain 110%)
60 | Appropriate Flammables storage available – grounded
61 | Adequate emergency chemical spill kits available
62 | Using OSHA compliant gas cans & chemical storage cabinets
63 | No spark producing activity (hot work permit) near combustible materials
64 | "No Smoking" signs posted near flammables and 8 ft from doorway
65 | Combustibles are not stored under staircases/steps
66 | Overhead cranes & lifting equipment: load limits are labeled.
67 | Employees have been properly trained to safely operate overhead cranes
68 | Cranes and hoists checked every 12 months
69 | Rigging equipment is being inspected and in good condition
| PRE-TREATMENT / SCREENING / HEADWORKS | YES | Partial | NO | N/A
70 | Adequate illumination in employee work areas
71 | Grating & floor drain covers in place (no open holes)
72 | All open basins have 30” safety buoys’ and safety lines in place
73 | Hand rails – Installed where needed & correct height & condition
74 | Elevated work areas have kick plates to protect employees below
| Additional Items Not Listed -- Comments | YES | Partial | NO | N/A
75 | Proper ventilation is provided in all interior areas.
76 | Good housekeeping practies are being utilized and enforced
77 | LO/TO program is used if equipment is down for repairs (cards, locks etc)
78 | Equipment emergency stop buttons in place & labeled
79 | Auto start equipment have warning signs posted.
80 | Piping clearly marked – i.e. non-potable water, waste water, hot, gas etc.
81 | Electrical panels have min. of 30” of clearance in front of each.
82 | Electrical panels circuits are clearly marked with ID
83 | All High Voltage (>440 volts) panels have arc flash warnings posted
84 | Panels are in good condition – clean, dry, no exposed conductors
85 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
86 | Warning signs (PPE, no smoking, hearing, conf. space, wet floor)
87 | Chemical tanks and containers properly labeled with contents and Hazard Warnings (i.e., Flammable)
88 | Equipment does not have exposed moving parts, proper guarding in place
89 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
90 | Emergency lighting checked/repaired every 12 months or as needed
| BIOLOGICAL / AERATION / OXIDATION | YES | Partial | NO | N/A
91 | Adequate illumination in employee work areas
92 | Grating & floor drain covers in place (no open holes)
93 | All open basins have 30” safety buoys’ and safety lines in place
94 | Hand rails – Installed where needed, correct height, & condition
95 | Elevated work areas have kick plates to protect employees below
96 | Proper ventilation is provided in all interior areas.
97 | Good housekeeping practices are being utilized and enforced
98 | LO/TO program is used if equipment is down for repairs (cards, locks etc)
99 | Equipment emergency stop buttons in place & labeled
100 | Auto start equipment have warning signs posted.
101 | Piping clearly marked – i.e. non-potable water, waste water, hot, gas, etc.
102 | Electrical panels have min. of 30” of clearance around the panel (front and sides)
103 | Electrical panels circuits are clearly marked with ID
104 | All High Voltage (>440 volts) panels have arc flash warnings posted
105 | Panels are in good condition – clean, dry, no exposed conductors
106 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
107 | Warning signs (PPE, no smoking, hearing, conf. space, wet floor)
108 | Chemical tanks and containers properly labeled with contents and Hazard Warnings (i.e., Flammable)
109 | Equipment does not have exposed moving parts, proper guarding in place
110 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
111 | Emergency lighting checked/repaired every 12 months or as needed
| CLARIFIERS / SETTLING | YES | Partial | NO | N/A
112 | Adequate illumination in employee work areas
113 | Grating & floor drain covers in place (no open holes)
114 | All open basins have 30” safety buoys’ and safety lines in place
115 | Hand rails – Installed where needed & correct height & condition
| Additional Items Not Listed -- Comments | YES | Partial | NO | N/A
116 | Elevated work areas have kick plates to protect employees below
117 | Proper ventilation is provided in all interior areas.
118 | Good housekeeping practices are being utilized and enforced
119 | LO/TO program is used if equipment is down for repairs (cards, locks etc)
120 | Equipment emergency stop buttons in place & labeled
121 | Auto start equipment have warning signs posted.
122 | Piping clearly marked – i.e. non-potable water, waste water, hot, gas, etc.
123 | Electrical panels have min. of 30” of clearance around the panel (front and sides)
124 | Electrical panels circuits are clearly marked with ID
125 | All High Voltage (>440 volts) panels have arc flash warnings posted
126 | Panels are in good condition – clean, dry, no exposed conductors
127 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
128 | Warning signs (PPE, no smoking, hearing, conf. space, wet floor)
129 | Chemical tanks and containers properly labeled with contents and Hazard Warnings (i.e., Flammable)
130 | Equipment does not have exposed moving parts
131 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
132 | Emergency lighting checked/repaired every 12 months or as needed
| DISINFECTION / CHEMICAL TREATMENT / OUTFALL | YES | Partial | NO | N/A
133 | Adequate illumination in employee work areas
134 | Grating & floor drain covers in place (no open holes)
135 | All open basins have 30” safety buoys’ and safety lines in place
136 | Hand rails – Installed where needed & correct height & condition
137 | Elevated work areas have kick plates to protect employees below
138 | Proper ventilation is provided in all interior areas.
139 | Good housekeeping practices are being utilized and enforced
140 | LO/TO program is used if equipment is down for repairs (cards, locks etc)
141 | Equipment emergency stop buttons in place & labeled
142 | Auto start equipment have warning signs posted.
143 | Piping clearly marked – i.e. non-potable water, waste water, hot, gas, etc.
144 | Electrical panels have min. of 30” of clearance around the panel (front and sides)
145 | Electrical panels circuits are clearly marked with ID
146 | All High Voltage (>440 volts) panels have arc flash warnings posted
147 | Panels are in good condition – clean, dry, no exposed conductors
148 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
149 | Warning signs (PPE, no smoking, hearing, conf. space, wet floor)
150 | Chemical tanks and containers properly labeled with contents and Hazard Warnings (i.e., Flammable)
151 | Equipment does not have exposed moving parts
152 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
153 | Emergency lighting checked/repaired every 12 months or as needed
154 | If applicable, are chlorine alarms tested & documented each month
155 | PPE is available for specified disinfection/treatment method
156 | UV systems properly set, warning signs in place
| BIOSOLIDS / DIGESTERS | YES | Partial | NO | N/A
157 | Adequate illumination in employee work areas
158 | Grating & floor drain covers in place (no open holes)
159 | All open basins have 30” safety buoys’ and safety lines in place
| Additional Items Not Listed -- Comments | YES | Partial | NO | N/A
160 | Hand rails – Installed where needed & correct height & condition
161 | Elevated work areas have kick plates to protect employees below
162 | Proper ventilation is provided in all interior areas.
163 | Good housekeeping practices are being utilized and enforced
164 | LO/TOprogram is used if equipment is down for repairs (cards, locks etc)
165 | Equipment emergency stop buttons in place & labeled
166 | Auto start equipment have warning signs posted.
167 | Piping clearly marked – i.e. non-potable water, waste water, hot, gas, etc.
168 | Electrical panels have min. of 30” of clearance around the panel (front and sides)
169 | Electrical panels circuits are clearly marked with ID
170 | All High Voltage (>440 volts) panels have arc flash warnings posted
171 | Panels are in good condition – clean, dry, no exposed conductors
172 | Exit doors clearly marked (or marked no Exit/purposed) and kept clear
173 | Warning signs (PPE, no smoking, hearing, conf. space, wet floor)
174 | Chemical tanks and containers properly labeled with contents and Hazard Warnings (i.e., Flammable)
175 | Equipment does not have exposed moving parts
176 | Fire extinguishers (Sealed, clean, inplace, location labeled, full pressure & checked each month)
177 | Emergency lighting checked/repaired every 12 months or as needed
| Additional Items Not Listed -- Comments | YES | Partial | NO | N/A
What size metal tags do you need for the Safety plaque?
Old plaque 0.75 in X 3 in New plaque 1in X 3in
|  | 0 | 0 | 0 | 0
|  | YES | Partial | NO | N/A
#DIV/0!
#DIV/0!
Loss Prevention Disclaimer
Safety and health are the responsibility of plant management. Our visits are intended to assist with identifying hazards and review guidelines for safety awards. These suggestions were developed from conditions observed at the time of the visit. They do not necessarily include every possible loss potential, violation of code, statute or regulation or exception to good practice, and are not a substitute for ongoing loss prevention programs designed and implemented by plant management.